## Sheet1
IDEASS: Cost-Benefit Analysis of a Solar PV Installation
Key Variables
|  | Range | Your Scenario
Square feet of roof space |  | 85680 | 7964.0095
Cost of solar panels (including balance of system costs) |  | see table below | 5.6
Solar insolation (kWh/yr per kw installed) |  | 1300-1400 | 1300
Current cost of electricity |  | $0.12 - $0.16 | 0.15
System lifespan (years) |  | 25-35 | 30
Interest Rate (if loan is needed for capital costs) |  | 0% - 8% | 0.02
Annual Increase in Cost of Electricity |  | 0% - 2% | 0.01
Discount Rate |  | 1% - 7% | 0.04
Degradation rate of PV panels |  | 0% - 2% | 0.01
California Solar Initiative Incentive ($/watt) |  | $0.25 - $0.60 | 0.4
Federal Tax Credit (30% of total system cost, after CA incentive) |  | 30% | 0.3
Panel Types, Efficiency, and Cost
|  | w/m2 | Range ($/w) | kw/m2
mono c-Si |  | 225.6 | $5 - $7 | 0.2256
multi c-Si |  | 206.4 | $4.50 - $6.50
R c-Si |  | 156 | $3.50 - $5.50
CdTe |  | 127.2 | $2.50 - $4
Your Task: Build an Excel Model to Calculate Net Present Value of the System!
Set up your model with a row for each year - you can use the table below to start you off. Your first task is to decide on a heading for the first column, and then fill in calculations for that column. Once you have completed that, use as many columns as necessary to make calculations. Don't forget to do any units conversions necessary and label each column. Assume that the building can use as much electricity as you can produce. You should only enter cell references and math operations in your model, not number values. Your result should be a single figure for Net Present Value (or total cost over the life of the system).
Once your model is built, try at least 4 scenarios with different values for the variables above. This should be very easy if you have set up your model correctly. Made a table to report your results.
After you have completed your model with four scenarios, think about an area of your project where cost benefit analysis would be useful and have a discussion with your teammate(s). How would the variables in your model change in this new applications? What other considerations, not included in this example, that affect costs and benefits will need to be considered to make these decisions? What other considerations exist that could determine your outcomes that cannot be included in a cost-benefit analysis? How useful is this tool for your project?
| year | install cost of total w/m2 | after incentive | electricity saved (kwh) | electricity saved given degradation of panels (kwh) | $ savings
Installation Costs | 0 | 10061411.0648 | 6539917.1921
Electricity Saved Year 1 | 1 |  |  | 2335684.7115 | 2335684.7115 | 350352.7067
Electricity Saved Year 2 | 2 |  |  | 2335684.7115 | 2312327.8644 | 346849.1797
Electricity Saved Year 3 | 3 |  |  | 2335684.7115 | 2289204.5857 | 343380.6879
Electricity Saved Year 4 | 4 |  |  | 2335684.7115 | 2266312.5399 | 339946.881
Electricity Saved Year 5 | 5 |  |  | 2335684.7115 | 2243649.4145 | 336547.4122
Electricity Saved Year 6 | 6 |  |  | 2335684.7115 | 2221212.9203 | 333181.938
Electricity Saved Year 7 | 7 |  |  | 2335684.7115 | 2199000.7911 | 329850.1187
Electricity Saved Year 8 | 8 |  |  | 2335684.7115 | 2177010.7832 | 326551.6175
Electricity Saved Year 9 | 9 |  |  | 2335684.7115 | 2155240.6754 | 323286.1013
Electricity Saved Year 10 | 10 |  |  | 2335684.7115 | 2133688.2686 | 320053.2403
Electricity Saved Year 11 | 11 |  |  | 2335684.7115 | 2112351.3859 | 316852.7079
Electricity Saved Year 12 | 12 |  |  | 2335684.7115 | 2091227.8721 | 313684.1808
Electricity Saved Year 13 | 13 |  |  | 2335684.7115 | 2070315.5934 | 310547.339
Electricity Saved Year 14 | 14 |  |  | 2335684.7115 | 2049612.4374 | 307441.8656
Electricity Saved Year 15 | 15 |  |  | 2335684.7115 | 2029116.313 | 304367.447
Electricity Saved Year 16 | 16 |  |  | 2335684.7115 | 2008825.1499 | 301323.7725
Electricity Saved Year 17 | 17 |  |  | 2335684.7115 | 1988736.8984 | 298310.5348
Electricity Saved Year 18 | 18 |  |  | 2335684.7115 | 1968849.5294 | 295327.4294
Electricity Saved Year 19 | 19 |  |  | 2335684.7115 | 1949161.0341 | 292374.1551
Electricity Saved Year 20 | 20 |  |  | 2335684.7115 | 1929669.4238 | 289450.4136
Electricity Saved Year 21 | 21 |  |  | 2335684.7115 | 1910372.7296 | 286555.9094
Electricity Saved Year 22 | 22 |  |  | 2335684.7115 | 1891269.0023 | 283690.3503
Electricity Saved Year 23 | 23 |  |  | 2335684.7115 | 1872356.3122 | 280853.4468
Electricity Saved Year 24 | 24 |  |  | 2335684.7115 | 1853632.7491 | 278044.9124
Electricity Saved Year 25 | 25 |  |  | 2335684.7115 | 1835096.4216 | 275264.4632
Electricity Saved Year 26 | 26 |  |  | 2335684.7115 | 1816745.4574 | 272511.8186
Electricity Saved Year 27 | 27 |  |  | 2335684.7115 | 1798578.0028 | 269786.7004
Electricity Saved Year 28 | 28 |  |  | 2335684.7115 | 1780592.2228 | 267088.8334
Electricity Saved Year 29 | 29 |  |  | 2335684.7115 | 1762786.3006 | 264417.9451
Electricity Saved Year 30 | 30 |  |  | 2335684.7115 | 1745158.4376 | 261773.7656
Net Cost after year 30 |  |  | -2579750.6821