Forward Original Report Within 10 Days To:

| City of Lubbock |  |
| --- | --- |
| Water Conservation & Compliance Dept |  |
| P.O. Box 2000 |  |
| Lubbock TX 79457 | PWS ID# 1520002 |

Test and Maintenance Report

SIGNATURE MUST BE IN BLUE INK / ILLEGIBLE OR INCOMPLETE REPORTS WILL NOT BE ACCEPTED

Backflow Assembly Information – Please Print

| Serial Number: ________________ | Manufacturer: _______________ Model: _______________ Size: ________ |
| --- | --- |
| Is this a commercial property? Yes | No | Phone Number of Contact : ___________________________ |
|  |  | (business / customer) |

Business/Customer Name: __________________________________________________________________________________________

Physical Address: ________________________________________  City: _________________________  Zip: ____________________

(of backflow assembly)

Assembly Location on the property: _________________________________________________________________

|  |  |  |  | (where to look for assembly) |
| --- | --- | --- | --- | --- |
| Type of device: DCVA | RPBA | PVBA | OTHER: _______________________________________ |
| New Install | Existing | Replacement | (Replacement for Serial Number __________________________________) |

Reason the assembly is installed: __________________________________________________________________________________

(what hazards are present i.e. irrigation, chemicals, boiler, or equipment)

| Does device comply with TCEQ and City of Lubbock requirements? YES | NO |
| --- | --- |

If No, why not? ______________________________________________________________________________________________________

Customer Information – Please Print

(if different than above)

Property Owner/Agent: ___________________________________________________________________________

Mailing Address: ________________________________ City: ____________________ Zip: _________________

|  |  | Reduced Pressure Assemblies¹ | Pressure Vacuum Breaker |
| --- | --- | --- | --- |
|  | Double Check Assemblies² | Relief Valve |  | SVB |
|  | 1st Check | 2nd Check | Open min 2 psi | Air Inlet | Check Valve |
|  | 5 psi¹; 1 psi² (Min) | Check Box¹; 1 psi² (Min) | Buffer min 3 psi | (1 psi min) | (1 psi min) |
| Initial Test | Held at_______psid | Held at________psid | Opened______psid | Opened______psid | Held at_______psid |
| PASSED |  |  |  |  |  |
|  | Closed Tight | Closed Tight |  |  |  |
| FAILED | Leaked | Leaked | Did Not Open | Did Not Open | Leaked |
| Repairs and |  |  |  |  |  |
| Materials Used |  |  |  |  |  |
| (Cont on back) |  |  |  |  |  |
| Test After Repair | Held at_______psid | Held at________psid | Opened at | Opened at |  |
|  |  |  | ________psid | ________psid | Held at_______pisd |
|  | Closed Tight | Closed Tight |  |  |  |

I certify that all information on this report is true and correct.

Tester’s Name (printed) ___________________________BPAT Cert No________________	________

Tester’s Signature ____________________________________ Test Date and Time ____________________

Tester’s Address _________________________________________Tester’s Phone #___________________

Gauge Calibration Date________________ Gauge Serial No_________________ Gauge Model___________

TEST REPORT MUST BE KEPT FOR THREE YEARS/USE ONLY MANUFACTURER’S REPLACEMENT PARTS

| Revision Date: 04/17/2017 | Copy – Customer | Copy - Tester |
| --- | --- | --- |
| Original – City |  |  |