Request for Proposal (RFP) and Proposal Evaluation Templates

for Portfolios of Commercial & Industrial Solar Projects

The Clean Energy Investment Accelerator (CEIA) is a public-private partnership initiative supported by the U.S. and German governments as well as other partners to drive deployment of clean energy solutions for large consumers in key emerging markets across the globe. The CEIA is jointly led by World Resources Institute, the U.S. National Renewable Energy Laboratory, and Allotrope Partners.

Along with other CEIA resources and tools (www.cleanenergyinvest.org/resources), this RFP Template and its supporting attachments are meant to enable the replication and scaling of renewable energy projects in commercial and industrial sectors. This is a working document informed by CEIA experiences to date in target markets and will be updated over time to capture additional lessons learned.

This RFP Template and the attachments are designed to serve as a starting point for organizations (project proponents) that are aggregating on-site commercial or industrial solar projects into a project pool on behalf of one or more buyer companies across multiple locations. This version of the RFP Template specifies that proposals include a bid for a turnkey solution, and allows for additional optional bids for Power Purchase Agreements (PPAs), leases or other financing mechanisms. This approach was used to accommodate a range of needs across a pool of buyer companies.

Project Proponents using this template and attachments will need to tailor them for their unique purposes, modifying content to align with desired financing models or offerings and adding specific information such as: proposal submission procedures, system specifications, site locations, key dates, local or domestic legal requirements, and other factors that vary across technologies, projects, countries, and circumstances.

Several placeholders where such project-specific data is needed are highlighted in red throughout the template. Italicized text provides examples or a description of text that could be inserted.

The CEIA team welcomes feedback on this RFP template as we continue to update our materials.

Please provide written comments to info@cleanenergyinvest.org.

Disclaimer: While CEIA aspires to make useful information for advancing solar widely available and user friendly, this document is in no way meant to provide technical, legal, or financial advice or recommendations. Any company or individual using this RFP Template takes full responsibility for their actions and absolves the CEIA and associated organizations of any liability.

1

CONTENTS

Template: REQUEST FOR PROPOSALS……………………………………………………………3

Appendix A: Proposal Evaluation Guidelines……………………………………………………27

Appendix B: RFP Scoresheet……………………………………………………………………….32

2

Template: REQUEST FOR PROPOSALS

FOR

COMMERCIAL AND INDUSTRIAL SOLAR

PHOTOVOLTAIC (PV)

PROJECT PORTFOLIO

Issued by: [Project Proponent]

Project partner:

[Name]

[Date]

Responses due by: [Time, Time zone, Date]

To: [email address]

Request for Proposals (RFP)

3

Commercial and Industrial Solar PV Project Portfolio

[Location]

[Date]

RFP CONTENTS

- Background……………………………………………………………………………………………..5

- RFP Process……………………………………………………………………………………………..6

- Project Sites Description………………………………………….……………………………………8

- RFP Submission Requirements………………………………………………………………………..8

- Evaluation of Submittals……………………………………………………………………………...12

- List of Attachments and Digital Files………………………………………………………………..13

Attachment 1: Bid Submission Letter Template and Checklist………………………………………14

Attachment 2: Proposal Form…………………………………………………………………………..15

Attachment 3: Site Data…………………………………………………………………………………24

Confidentiality Statement

[Insert confidentiality statement]

4

1. Background

[Paragraph about the project proponent]

Include information such as: Name of company or organization facilitating the RFP; Year Established; Experience in field; Professional Certifications.

[Paragraph about the project partner(s)]

Include information such as: Name of company or organization supporting the project proponent in facilitating the RFP; Year Established; Experience in field; Professional Certifications; Experience in projects.

[Summary of the types of bids sought and intended results]

For example:

Project proponent is seeking bids for the design, procurement of materials, permitting, installation, testing and commissioning, and associated documentation, financing, maintenance and warranties for solar PV systems to be located at the respective Buyers’ properties. All of the Buyers’ sites must be included in each proposal received for this RFP, unless the bidding company can make a strong case as part of the proposal for not including one or more sites.

It is anticipated that the aggregate size of projects in this portfolio can provide economies of scale that result in more competitive proposals (i.e. lower prices) for the Buyers group. Systems within the scope of this RFP may be purchased outright by the Buyers or may be financed, owned, and operated by the Bidders under a Power Purchase Agreement (PPA) or operating lease. (Note: PPAs may not be allowed by law in all jurisdictions.)

To participate in this RFP, bidding firms must demonstrate the ability to perform the work set forth in this document and are expected to have significant experience successfully performing comparable work in [relevant country or jurisdiction].

In response to this RFP, Bidders should prepare and submit:

- Bid Submission Letter (see Attachment 1);

- Narrative Proposal as described in Section 4 below, containing:

  - Company Profile;

  - Proposed system designs and expected annual electricity production for each site;

  - Cost proposal narrative for each site/system;

  - Warranty and Operations & Maintenance Plan;

- Proof of Corporate License; and

5

4.  Proposal Form (see Attachment 2).

Further details about these submission requirements are included in Section 4. Proposals will be evaluated based on company experience and the quality and pricing of their offerings, as outlined in Section 5.

2. RFP Process

The following is the RFP process timetable, subject to change at [the Project Proponent’s] and

Buyers’ sole discretion:

| A. | [Date] | : RFP Issued |
| --- | --- | --- |
| B. | [Date] | : Bidders Confirm Site Visit Attendance |
| C. | [Date] | : Bidders Conduct On-Site Evaluation |
| D. | [Date] | : Deadline for Bidders Submittal of Questions |
| E. | [Date] | : Deadline for Submittal of Final Proposals |
| F. | [Date] | : Proposal Evaluations / Interviews |
| G. | [Date] | : Select and Notify Qualified Bidders |
| H. | [Date] | : Contract Negotiations Begin |

A. Site Walks

A list of anticipated dates and times for on-site technical evaluations is listed below, and all RFP respondents are highly encouraged to participate. In addition to Bidders’ experience and expertise, information gathered during the site walks and provided in this RFP are expected to be sufficient for Bidders to assess the roof, structural, and electrical service point conditions, so as to propose optimally designed systems for the respective sites.

Site Walk Locations and Dates

| Company Name | Address | Date/ Time |
| --- | --- | --- |

Bidders that will be participating in the site walks shall send an email to [Insert: Project Proponent's email for contact] to confirm their planned attendance by [Date].

B. Requests for Information & Questions

6

Bidders may submit questions and requests for information regarding this RFP only via the online form located here: [link to online questionnaire] no later than [Date]. Questions will be addressed and all responses will be issued via Addenda to all qualified bidders. Any attempt by a Bidder to contact any other persons at the [Project Proponent] or Buyers in regard to this RFP may result in disqualification of the Bidder.

C. RFP Due Date

Bidders shall submit to [the Project Proponent] via [email address], no later than [time, timezone, date], an electronic submission of the completed RFP documents in [required language]. Where noted, all responses shall utilize spreadsheets, documents, and online submission forms provided in this RFP.

D. Proposal Interviews

After bids have been submitted and evaluated, [the Project Proponent] may recommend finalists to Buyers, and then facilitate Buyers in carrying out interviews with selected finalists. The purpose of this interview is to confirm information provided in proposals submitted by the Bidder(s), and to allow Bidder(s) to respond to the questions from Buyers, provide clarifications, and expand on the information provided in their proposals.

Upon completion of interviews and proposal evaluations, the Buyers may issue a Bidder an Intent to Award. The Bidder receiving the Intent to Award may then enter into individual contract negotiations with each of the Buyers.

E. Award

Any contract(s) for this Project may be awarded to the qualified Bidders(s) able to effectively negotiate terms for the project(s) that provide the “best value” to the Buyers as determined solely by the Buyers and their agents. Buyers reserve the right to reject any or all proposals or any part of an individual proposal and to otherwise determine which, in their sole judgment, best meets their needs. If the selected Bidder seeks to add costs to the proposed project after selection or is unable to effectively execute contracts with the Buyers, alternate Bidders may be contacted in an effort to develop the proposed projects.

Please note, this document and the RFP process does not constitute a guarantee by [the Project Proponent] or any associated parties to purchase a system or enter into binding negotiations or contracts with any firms that respond to this RFP. Any and all costs associated with a firm providing a bid in response to this RFP are the sole responsibility of the company bidding. Bidders submitting responses to this RFP do so with the understanding that the Buyers do not guarantee the award of any contract or work. Buyers reserve the right, in their sole and absolute discretion, to abolish, refresh, amend, or extend the scope or limitations of this Project.

7

3. Project Sites Description

[The Project Proponent] is seeking technical and financial bids from qualified energy companies to provide engineering, procurement, permitting, and construction services related to the installation of grid-tied solar PV systems at the sites listed below.

Based on preliminary site evaluations and electrical use data analysis for each site listed, the total combined project pool is expected to be [estimated aggregated capacity]. The table below provides average monthly and minimum hourly daytime demand estimates for each of the sites. The total area listed in the table may not all be suitable for solar installations. Bidders are encouraged to participate in the site walks to obtain accurate, “installable” area figures for each site. System size ranges are provided as a guide. Bidders are welcome to provide designs that are outside of these ranges with accompanying drawings. Bids should attempt to cover as much of this usage as possible while providing positive economic returns for the Buyer within the constraints of net-metering and other relevant local and national policies.

Further details are provided in the Attachment 3, “Site Data.” Building and electrical diagrams are available [provide a specified attachment or online location].

[The Project Proponent] and all Buyers have endeavored to ensure the information included in the RFP is accurate and complete, but errors and omissions may have inadvertently occurred. [The Project Proponent] and prospective Buyers make no representations with respect to the sites, including their suitability. Bidders shall take full and sole responsibility for conducting any necessary due diligence in assessing the sites and their conditions in order to develop accurate proposals.

4. RFP Submission Requirements

Bidders are requested to provide the following proposal information in response to the RFP:

- Bid Submission Letter (see Attachment 1);

- Narrative Proposal as described below containing:

  - Company Profile summarizing history, experience, and capability of the company that illustrates capacity to complete the project on time and on budget;

  - Proposed System Designs and expected annual electricity production for each site;

  - Cost Proposal Narrative for outright purchase, PPA, lease, or other financial options for each site/system;

  - Warranty and Operations & Maintenance Plan;

- Proof of Corporate License; and

- Completed Proposal Form, using Attachment 2, summarizing information from the Narrative Proposal on design, costs, warranties, and reference projects.

8

Further information on the list above:

1. Bid Submission Letter

Please see Attachment 1 for the template and checklist.

2 (a). Company Profile

Please provide a high-level summary that includes a description of your company and project team, proposed PV systems and purchasing and financing options for this RFP, and description of relevant experience with similar projects. References can be included here and in the Proposal Form (Attachment 2). (Note: Proponents may wish to ask bidders to provide information on the gender balance of their management team or other priority indicators to ensure bidders uphold fair and equitable practices.)

2 (b). Proposed System Design and Production Estimates

The proposed solar energy system must abide by all electrical, construction, safety, and other laws governing [relevant country or jurisdiction], as well as permitting and interconnection requirements of authorities having jurisdiction and the local utilities.

Bidder shall provide preliminary system designs for each site that includes:

- Site overview with module layout, including proposed azimuth and tilt (slope) of each PV array.

- Product specification sheets for proposed racking, modules, inverters, and monitoring.

- Product warranty information for proposed racking, modules, and inverter applicable for the site conditions.

- 10 year full system warranty (parts and labor) or a proposed warranty and maintenance plan detailing steps that will be taken by the Bidder to ensure product and workmanship warranties/ guarantees/ insurance, and any associated costs to the Buyer.

- Annual production estimates in kilowatt-hours (kWh) and associated production annual guarantee, if available.

- Preliminary Single-line electrical diagram (Optional)

Each proposed design should clearly specify system size (KW / DC STC: Standard Test Conditions), azimuth(s) of PV array(s), tilt, and shading considerations, as well as kWh of production for year one and planned annual degradation rates. Production modeling of the PV systems can be performed using PVSYST or equivalent modeling software using TMY3 weather data for the location closest to the site. The simulations shall accurately simulate energy production for proposed system layouts, sizes, and orientation. It is critical that PV production models are accurate with all methodology and assumptions described. The Buyer will independently verify production models are accurate to the designed systems and utilize simulation results for economic

9

evaluations. Bidder shall be responsible for updating the production models each time sufficient changes are made to the proposed system designs that may impact production.

Bidders shall avoid excessive shading on modules to the extent possible. Where shading losses are encountered, Bidders should perform a shading analysis justifying the basis for their design, including any proposed tree removal, and explaining why shading does not create an adverse performance and/or economic impact.

If a production or performance guarantee is included or available with the bid, it should be sent with proposal materials, and should specify the amount of Expected Annual Contract Quantity (energy guaranteed per year) and compensation rates for insufficient production for the entire term of the agreement.

2 (c). Cost Proposal Narrative

Bidders should include a written cost proposal for each site that includes at a minimum a (Turnkey) outright purchase price. Proposed power purchase agreements (PPAs), leases, and other financial options are also welcome, but not required, and should be submitted in writing as part of the Project Cost Proposal.

The Turnkey scope of services ‘quoted’ in the bid should be for the provision of all tasks required to design, engineer, permit, fabricate, deliver, install, operate, and maintain the PV system(s). The scope shall also include, but not be limited to, securing all permits and approvals from governing agencies, all labor, taxes, services, interconnection and environmental studies and costs, and equipment necessary to produce a fully operational solar PV system. Any costs that are not included in the bid must be clearly identified by the Bidder, in the cover letter or on a single page within the bid package submittal, labeled “Additional Costs.”

Power purchase agreements, leases, or other similar quotes should be the Bidder’s best offer. At a minimum, proposals that include a PPA or lease option should include:

a. Price per kWh in year one, for example: [currency] per kWh (0.00/kWh); b. Rate of annual price increase (%), if applicable;

c. Year one total kWh of production expected & annual degradation rate; d. Length of PPA/Lease contract, e.g. 15 years, 20 years;

e. Amount of down payment (if requested);

f. Acceptable currencies of associated financial transactions; and

g. Renewable Energy Credit (REC) ownership stipulations, if applicable.

Currency: All prices should be provided in US dollars, and can include [relevant currency] at an exchange fixed rate of $1 USD = XXXX.XX currency.

2 (d). Warranty and Operations & Maintenance Plan

10

All proposed systems should include a [e.g., 10] year full system warranty that includes the cost of all parts and labor. These costs should be included in the turnkey purchase price. If the proposed outright purchase option provided by a bidder does not include a [e.g., 10] year warranty at no additional cost to the stated Turnkey price, bidders should provide additional price quotes for Operation and Maintenance (O&M) for the entire system for all applicable years [e.g., 1-10 and 10-20]. These O&M quotes should include all anticipated maintenance and repair work, as well as equipment replacement, including, but not limited to, inverter replacement, in order to keep the system operational and performing for 20 years. Alternatively, Bidders may indicate in your submission (cost proposal narrative) the length of the full system (parts and labor) warranty being offered and state that “no additional O&M services will be provided thereafter”.

For roof-based systems, include a description of the roof warranty (e.g. where penetrations are made) that will be provided, the length in years, and assignment of responsibilities.

The Bidders’ O&M service program should provide the following minimum requirements:

- Annual onsite system inspection,

- System testing (operating current of each electrical string),

- Identification of unique site characteristics (e.g., heat, dust, humidity, water access) that could impact panel efficiency, and lay out the plan for routine cleaning and preventive maintenance,

- Repair and/or replacement of defective parts (all equipment and labor), and

- System performance monitoring and historical data access for customer via secure website.

Bidders may be asked to provide evidence that the proposed technology and equipment would meet or exceed all currently applicable and proposed safety and interconnection standards in [relevant country or jurisdiction]. All equipment components must be UL or equivalently certified and meet existing facility structural and fire safety requirements. All system designs should comply with all applicable federal and local laws and regulations, including any electrical, environmental, building, and safety codes and ordinances.

Optional: Bidders are requested (but not required) to submit a purchase contract with a fixed price, and if offered, a lease or PPA contract that includes:

- Fixed completion price;

- PPA or Lease buy-out price for duration of contract each year;

- Restrictions on the ability of the EPC contractor to claim extensions of time and additional cost;

- Liquidated damages for both delay and performance;

- Output and performance guarantees;

- Insurance information;

- Security and guarantees from the EPC contractor (or its parent company); and

- Single point of responsibility resting with the EPC contractor.

11

Note: Shortlisted Bidders may be required to provide the information listed above following initial proposal evaluations.

3. Proof of Corporate License / List of Subcontractors

Only Proposers with a Civil Contractor License, an Electrical Contractor License recognized as sufficient for conducting such business by the Government of [country of project] and other relevant authorities (local/ national) and who have been approved through this process will be eligible to contract for the Project. Bidders that do not possess any of these Licenses must include a list of Subcontractor with such Licenses.

4. Proposal Form

In addition, Bidders should complete the Proposal Form (Attachment 2). The Tabs to be completed by Bidders are labeled: Company Profile, References, Project Cost, Warranties/ O&M, and Proposed System Design for each site. This spreadsheet should serve as a summary of information from the full RFP submission sections listed above.

5. Evaluation of Submittals

The RFP evaluation is for the purpose of determining which Bidders are deemed responsible, qualified, and capable of performing the proposed work, and to determine which technical proposals offer the best value to Buyers. Qualifications of applicants will be reviewed and evaluated by [The Project Proponent] team and Buyers based upon the submitted documents and any other information available. Buyers retain the sole discretion to determine issues of compliance and to determine whether a Bidder is responsive and responsible.

Bids will be scrutinized to assure that prices are highly competitive, reflect the benefits of pooled equipment purchases across all sites, and are consistent with market conditions. A bid's competitiveness may be adversely affected if the prices fall significantly below or above current market conditions. The Buyer’s decision will be based on the evaluation of several factors including, but not limited to the following:

Qualifications & Experience (25%)

- Strength of qualifications and experience of proposing firms and key personnel

- Strength of project references, customer satisfaction, completion of projects equivalent to those included in this RFP, and success in maintaining project budgets and schedules

- Financial stability and proof of funding for these projects with proven track record

Technical Proposal (25%)

- Preliminary system design is appropriate for site needs, accounts for site conditions, and is optimized to take advantage of the conditions conferred by net-metering policy or other relevant policies

- Projected energy production is realistic and appropriate for each facility

12

- Module, inverter, racking, and monitoring components are high quality, available, and have strong track record and warranty coverage

Project Costs (40%)

- For direct purchase costs:

- Operations and maintenance cost for first 10 years of system life, plus 10 additional

years

  - Financial analysis of total system costs and benefits over 10 years

- For PPA/lease costs of energy over specified term:

  - Operations & Maintenance costs for first 10 years of system life, plus 10 additional years

- Financial analysis of total system costs and benefits over 10 years

Proposal Attributes (10%)

Proposal is complete and addresses requirements and preferences stated in the RFP, addresses local workforce preferences, and demonstrates experience working with commercial projects.

- List of Attachments

  - Attachment 1: Bid Submission Letter Template and Checklist (document format type, e.g. Word, PDF)

  - Attachment 2: Proposal Form (Excel spreadsheet)

  - Attachment 3: Site Data (Proponents may want to share detailed site data as well as building and electrical diagrams when available, placing related documents in a digital format online with limited access for qualified Bidders. This allows for fewer emails with attachments and assures that all Bidders have access to the same information, which can be updated as needed.)

13

Attachment 1: Bid Submission Letter Template and Checklist

Please review, sign, and submit this letter with your company’s response to this RFP.

Dear Project Proponent,

We are pleased to present our proposal for your review as part of the Request for Proposals (RFP) dated __________. Our company has worked in solar installations since ___________. The

projects we are proposing meet or exceed the technical and legal requirements needed to complete this project on time and within budget.

Our bid includes:

- Narrative Proposal containing: a company profile, system design, cost proposal narrative, and warranty and O&M plan

- Proof of Corporate License

- Proposal Form

Thank you for the opportunity to participate in this RFP. If you have any questions, please feel free to get in contact with me directly.

Sincerely,

Bidding Company Representative’s Name: __________________________________________

Position: ___________________________________________

Company: __________________________________________

Date: _____________________________________________

14

Attachment 2: Proposal Form

15

[RFP Title/Location]

Thank you for your interest in Project Proponenet's RFP.

Please complete the information requested in the tabs below.

Save the spreadsheet as "Proponent -Proposal Form: Your Company Name", and return with the rest of the RFP submission documentation.

*Please do NOT alter any of the cells, insert columns or rows, text, or otherwise add information that is not specifically requested.

Any and all additional information that you would like to include should be part of the

Project Design and proposal documents submitted per the RFP instructions.

Please submit questions by Date via this online form: [online location]

Project Proponent will share all questions and answers with all participating companies.

16

Company Information

|  | Name of Company |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  | Electrical Contractor License # |  |  |  |  |  |  |
|  | Construction Contractor License # |  |  |  |  |  |  |
|  | Year Established |  | -- |  |  |  |  |
|  |  | Street or Box # |  | City | Country |  |  |
|  | Legal Address |  |  |  |  |  |  |
|  | Mailing Address |  |  |  |  |  |  |
|  | Name of Main Point of Contact (POC) |  |  |  |  |  |  |
|  | Webpage Address |  |  |  |  |  |  |
|  | Email (POC) |  |  |  |  |  |  |
|  | Phone (POC) |  |  |  |  |  |  |

17

Reference Projects

Please list up to five projects that your company has completed in the last 2-3 years.

If possible, select projects that are similar in design and site conditions as those proposed herein.

Providing reference contact information is highly encouraged, but not required for this phase of the RFP.

System Size (KW / DC)	Date Commissioned	Current Status	Location

1

2

3

4

5

Can you provide contact information for the

customer served by this project so they may be

contacted by the Project Proponent?	Reference Name & Contact Information (Optional)

18

Cost Proposal (CEIA Colombia 2018)

Please complete the requested information for each site.	All figures should be in

Currency using the exchange rate of $1 USD = XX Currency.

If your firm will not be offering any of the options, leave the corresponding cell blank.

|  |  |  |  | TOTAL | PPA |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  | Turnkey Purchase Price $USD | Price Year One | PPA | PPA | Lease | Lease | Lease |  |  |
|  | Site |  |  | (include all costs) | US Cents per /kwh) | Down Payment | Annual Escalator (%) | Annual Cost (YR 1) | Down Payment | Annual Escalator (%) | Feel free to add notes here: |  |
|  | EXAMPLE |  |  | $750,000.00 | $0.07 | $7,500 | 1.00% | $12,000.00 | $1,000.00 | 1.00% |  |  |
|  |  |  | Site 1 | $0.00 | $0.00 | $0 | 0.00% | $0.00 | $0.00 | 0.00% |  |  |
|  |  |  | Site 2 |  |  |  |  |  |  |  |  |  |
|  |  |  |  | $0.00 | $0.00 | $0 | 0.00% | $0.00 | $0.00 | 0.00% |  |  |
|  |  |  | Site 3 |  |  |  |  |  |  |  |  |  |
|  |  |  |  | $0.00 | $0.00 | $0 | 0.00% | $0.00 | $0.00 | 0.00% |  |  |
|  |  |  | ... |  |  |  |  |  |  |  |  |  |
|  |  |  |  | $0.00 | $0.00 | $0 | 0.00% | $0.00 | $0.00 | 0.00% |  |  |
|  |  |  | ... |  |  |  |  |  |  |  |  |  |
|  |  |  |  | $0.00 | $0.00 | $0 | 0.00% | $0.00 | $0.00 | 0.00% |  |  |
|  |  |  | ... |  |  |  |  |  |  |  |  |  |
|  |  |  |  | $0.00 | $0.00 | $0 | 0.00% | $0.00 | $0.00 | 0.00% |  |  |
|  |  |  | ... |  |  |  |  |  |  |  |  |  |
|  |  |  |  | $0.00 | $0.00 | $0 | 0.00% | $0.00 | $0.00 | 0.00% |  |  |

19

Site

EXAMPLE

Site 1

Site 2

Site 3

...

...

...

...

>>>>>>>>>>>>>>>>

Warranties / O & M

Please indicate the longest amount of time for the main warranty and performance attributes for each proposed system your company is offering at no extra cost to the Turnkey Price you input in the Cost Proposal Tab.

Use the drop down menu to select "Yes" to indicate the length of the term (in years) of your firm's warranty offer that is included (at no additional costs).

If your firm would like to offer a longer term warranty or operations and maintence bid, please include it with your RFP document and indicate so in row 20 below.

|  | Warranty |  |  |  | Production Guarantee |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  | Power Purchase Agreement (PPAs) |  |  |  |
|  | Turnkey Purchase Offer |  |  |  |  |  |  |  |
|  |  |  |  |  | or Lease Offers |  |  |  |
| 1 Year Warranty | 5 YR |  | 10 YR | 15 -20 YR | Guaranteed (KWH) Output | Guaranteed (KWH) Output | No Offer |  |
| All parts and labor | All parts & labor |  | All parts & labor | All parts & labor | 15 Years | 20 Years |  |  |
|  |  |  | Yes | No |  | Yes |  |  |

Operations and Maintenance

Can your firm provide 20 years of operations and maintenance?

| If you answered yes, what is the average cost per year per KW/DC of installed capacity? | $-- |
| --- | --- |

20

Proposed Project Design

Please submit the following information for each site.

In addition proposers / bidders are encouraged to a send PDF file with their proposed on-site system design layout and optional single line drawing.

Proposals with more than one system for a site, should clearly indicate Azimuth, Tilt, Shading, and

other production related factors for each system in the written "System Design" submission.

|  |  |  |  |  | Array Slope / | Magnetic Azimuth | Estimated Shading | Production | Cumulative Production |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Site |  | System Size (KW / DC) | Installation Location | Degrees of Tilt | (degrees) | on Array | Year 1 (MWH) | Years 1-20 (MWH) | Module Manufacture | Inverter Manufacture |  |
|  | EXAMPLE |  | 500.00 | Roof | 10.00 | 100 | 10.00% | 21,900,000 | 394,200,000 | SunPower: X22-360-COM | SMA |  |
|  |  | Array 1 | 0.00 |  |  |  | 0.00% |  |  |  |  |  |
|  |  | Array 2 |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | 0.00% |  |  |  |  |  |
|  |  | Array 3 |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | 0.00% |  |  |  |  |  |
|  |  | Array 4 |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | 0.00% |  |  |  |  |  |
|  |  | Array 5 |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | 0.00% |  |  |  |  |  |
|  |  | Array 6 |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | 0.00% |  |  |  |  |  |
|  |  | Array 7 |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | 0.00% |  |  |  |  |  |

21

Proposed Project Design

Please submit the following information for each site.

In addition proposers / bidders are encouraged to a send PDF file with their proposed on-site system design layout and optional single line drawing.

Proposals with more than one system for a site, should clearly indicate Azimuth, Tilt, Shading, and

other production related factors for each system in the written "System Design" submission.

|  |  |  |  |  | Array Slope / | Magnetic Azimuth | Estimated Shading | Production | Cumulative Production |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Site |  | System Size (KW / DC) | Installation Location | Degrees of Tilt | (degrees) | on Array | Year 1 (MWH) | Years 1-20 (MWH) | Module Manufacture | Inverter Manufacture |  |
|  | EXAMPLE |  | 500.00 | Roof | 10.00 | 100 | 10.00% | 21,900,000 | 394,200,000 | SunPower: X22-360-COM | SMA |  |
|  |  | Array 1 | 0.00 |  |  |  | 0.00% |  |  |  |  |  |
|  |  | Array 2 |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | 0.00% |  |  |  |  |  |
|  |  | Array 3 |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | 0.00% |  |  |  |  |  |
|  |  | Array 4 |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | 0.00% |  |  |  |  |  |
|  |  | Array 5 |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | 0.00% |  |  |  |  |  |
|  |  | Array 6 |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | 0.00% |  |  |  |  |  |
|  |  | Array 7 |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | 0.00% |  |  |  |  |  |

22

Proposed Project Design

Please submit the following information for each site.

In addition proposers / bidders are encouraged to a send PDF file with their proposed on-site system design layout and optional single line drawing.

Proposals with more than one system for a site, should clearly indicate Azimuth, Tilt, Shading, and

other production related factors for each system in the written "System Design" submission.

|  |  |  |  |  | Array Slope / | Magnetic Azimuth | Estimated Shading | Production | Cumulative Production |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Site |  | System Size (KW / DC) | Installation Location | Degrees of Tilt | (degrees) | on Array | Year 1 (MWH) | Years 1-20 (MWH) | Module Manufacture | Inverter Manufacture |  |
|  | EXAMPLE |  | 500.00 | Roof | 10.00 | 100 | 10.00% | 21,900,000 | 394,200,000 | SunPower: X22-360-COM | SMA |  |
|  |  | Array 1 | 0.00 |  |  |  | 0.00% |  |  |  |  |  |
|  |  | Array 2 |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | 0.00% |  |  |  |  |  |
|  |  | Array 3 |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | 0.00% |  |  |  |  |  |
|  |  | Array 4 |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | 0.00% |  |  |  |  |  |
|  |  | Array 5 |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | 0.00% |  |  |  |  |  |
|  |  | Array 6 |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | 0.00% |  |  |  |  |  |
|  |  | Array 7 |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | 0.00% |  |  |  |  |  |

23

Attachment 3: Site Data

24

|  |  |  |  | Avg Monthly | Baseload | Roof / Ground Area (Sq |  |  |  | Substructure of | Electrical |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Company Name | Location | Latitude | Longitude |  | (daytime low |  | Roof Type | Age of Roof | Roof Notes/Comments |  |  |
|  |  |  |  | kwh |  | Meters) |  |  |  | Roof/Comments | Notes/Comments |
|  |  |  |  |  | avg) kW |  |  |  |  |  |  |
| Site 1 |  |  |  |  |  |  |  |  |  |  |  |
| Site 2 |  |  |  |  |  |  |  |  |  |  |  |
| Site 3 |  |  |  |  |  |  |  |  |  |  |  |
| ... |  |  |  |  |  |  |  |  |  |  |  |
| ... |  |  |  |  |  |  |  |  |  |  |  |
| … |  |  |  |  |  |  |  |  |  |  |  |
| … |  |  |  |  |  |  |  |  |  |  |  |

*Roof area, substructure, and electrical information is estimated based on preliminary site visits. Actual conditions may vary, and should be confirmed by bidders.

25

| Site 1 |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Electrical Use |  |  |  |  | Hr 1 | Hr 2 | … | Hr 24 | Totales | 22 dias |
|  |  |  | Promedio |  | 2,010 | 2,089 | … | 1,942 | 45,581.46 | 1,002,792.21 |
|  |  |  | Max |  | 2,588 | 2,752 | … | 2,394 | 2,880.00 |  |
|  |  |  | Min |  | 843 | 857 | … | 968 | 303.30 |  |
|  |  |  | 1= dom 7 = sab |  |  |  |  |  | 638,141 | KWH/periodo |
|  | Fecha (mm/dd/aa | Mes | dia |  | Hr 1 | Hr 2 | … | Hr 24 |  |  |
|  | 1/1/16 | 1 |  | 6 | 1,369.80 | 1,727.10 | … | 1,216.80 | 35,277.30 |  |
|  | 1/2/16 | 1 |  | 7 | 1,739.70 | 1,767.60 | … | 1,728.90 | 49,799.70 |  |
|  | 1/3/16 | 1 |  | 1 | 2,502.00 | 2,455.20 | … | 2,192.40 | 53,847.00 |  |
|  | 1/4/16 | 1 |  | 2 | 2,400.30 | 2,511.00 | … | 2,226.60 | 53,496.90 |  |
|  | 1/5/16 | 1 |  | 3 | 2,340.00 | 2,367.90 | … | 2,204.10 | 52,202.70 |  |
|  | 1/6/16 | 1 |  | 4 | 2,213.10 | 2,292.30 | … | 2,331.90 | 48,617.10 |  |
|  | 1/7/16 | 1 |  | 5 | 1,870.20 | 1,950.30 | … | 1,848.60 | 42,877.80 |  |
|  | 1/8/16 | 1 |  | 6 | 2,587.50 | 2,291.40 | … | 2,394.00 | 54,362.70 |  |
|  | 1/9/16 | 1 |  | 7 | 2,370.60 | 2,752.20 | … | 2,368.80 | 57,359.70 |  |
|  | 1/10/16 | 1 |  | 1 | 2,217.60 | 2,484.00 | … | 2,200.50 | 58,698.00 |  |
|  | 1/11/16 | 1 |  | 2 | 1,942.20 | 2,237.40 | … | 2,074.50 | 44,595.90 |  |
|  | 1/12/16 | 1 |  | 3 | 1,667.70 | 1,503.90 | … | 1,649.70 | 27,065.70 |  |
|  | 1/13/16 | 1 |  | 4 | 843.30 | 856.80 | … | 967.50 | 14,760.00 |  |
|  | … | … | … |  | … | … |  | … | …. |  |
|  | 12/31/18 | 12 |  | 2 | 2,079.00 | 2,048.40 | … | 1,785.60 | 45,180.00 |  |

26

Appendix A: Proposal Evaluation Guidelines

27

Evaluation of Proposals: Suggested Guidelines

This document explains a proposed review process and provides guidelines for evaluating proposals submitted in response to a Solar PV Requests for Proposals. This process can serve as the basis for screening and scoring proposals, and informing facility owners of the relative merits of competing proposals. It is recommended to include a diverse and well qualified team to conduct independent reviews (and proposal scoring) that are then aggregated, evaluated, and discussed by the principle Project Proponent team and presented to the Buyers.

An evaluation process can have three phases:

- Qualification: Screening of proposals to assure basic requirements of the RFP are met.

- Quantitative Analysis and Data Normalization: A limited number of key quantitative variables are gleaned from proposals and prepared for the Team Assessment.

- Team Assessment: Review and coordinate analysis of full proposals, quantitative results, potential cross-bid analysis, and other data.

The role of the team in the bid evaluation process is primarily to provide analytic and technical support to companies considering solar for their facilities. It is suggested that the RFP review team does not select winners or make specific recommendations about proposal selection or contract awards. Site owners should be solely responsible for determining which, if any, proposal and bidder they choose for further consideration and awards of contracts.

Part 1. Qualification

A subset of the RFP review team examines proposals provided by bidders to determine if the basic requirements called for via the RFP have been met. The broader review team can check this analysis as they complete parts 2 and 3 of the process. For example, to qualify, the bidders must provide:

- Verification of Bidder’s Contractor License;

- A signed Bid Submission Letter;

- Proposals with appropriate pricing and design information (complete proposal); preference given to proposals that include all sites or most sites with reasonable explanation for exclusions;

- Minimum [10] Year Full System Warranty All Parts and Labor; and

- Reference projects with customer’s contact information (optional).

28

Proposals that have all the required information are considered “Qualified” and will be scored 100% and move on to the Secondary Evaluation phase. Proposals that do not provide the required documentation may be disqualified, with a note indicating shortcomings.

Disqualification: Companies that do not provide the following may be disqualified and not given further consideration:

- Contractor/electrical license information that can be verified;

- A signed bid submission letter;

- A complete proposal; or

- A [10]-year or longer full-system warranty offer.

Shorter-term warranty offers that include additional costs to reach the 10-year threshold will be considered with the cost noted in information provided to Team Reviewers. In case an insufficient number of proposals (less than 3) are received that meet the basic qualification criteria, the review team may choose to contact disqualified firms and request the required information and proceed with further evaluation.

Pricing: Additionally, the review team will assess bidders’ pricing to determine their ‘appropriateness’ in terms of market conditions. Bids that appear to be significantly out of step with current market conditions and other bids (e.g. they are relatively much higher or lower), may be disqualified from further evaluation unless the review team determines otherwise.

System Design: The review team will also analyze the proposed system designs and production estimates to determine if they are technically feasible and appropriate given site conditions and facility energy use within the constraints of the relevant country’s or jurisdiction’s policy framework, which could include incentives like net metering or net billing. Where concerns are identified, proposals may be disqualified from further evaluation unless the review team determines otherwise.

Part 2. Quantitative Analysis and Data Normalization

Data on key economic factors may be gleaned from qualifying proposals and presented in a spreadsheet for reviewers’ consideration. This could include information on:

- Turnkey cash purchase price per kWp installed for all sites;

- Average PPA Prices Per kWh;

- Lease Cost; and

- Additional costs.

29

The Turnkey Cash Purchase Price Per kWp installed is all costs to design, procure, build, commission, and maintain a proposed solar energy system for [10] years at full performance (at the proposed system performance degradation rate)), under full (all parts and labor) warranty, divided by the total KW of PV proposed for all sites.

The Average PPA Price Per kWh may be calculated as the sum off all costs (down payment, per unit costs, escalator impact on price over time, and additive O&M costs proposed) divided by number of years of the proposed PPA agreement.

The Lease Cost Per kWh is the sum off all costs (down payment and total lease payments over time) divided by the total estimated production over the term of the lease agreement. The production estimate used for this analysis may be the figures used by the proposer or the average kWh (AC) of energy produced per installed kW (DC) at each respective site as specified across all qualified proposals.

Additional costs proposed to achieve the [10]-year warranty threshold or pay for other project related activities not included in the Turnkey Purchase price will be enumerated under this category.

Part 3. Team Assessment

A group of selected reviewers with expert experience in the field are provided with each bidder’s full proposal documents, the “RFP Proposal Form,” and a summary of relevant data from the qualification and quantification phases above. After reviewing this material, reviewers evaluate and score each proposal using the RFP Score Sheet template, evaluating relative merits using the total possible points for each section listed in the spreadsheet.

Scores are summed for each bid and the relative ranking is provided in the spreadsheet, with the final tally representing an organizational score for each bid. Reviewers can include comments and insights for each main category of evaluation that may be used to help evaluate bidders and their proposals. After all proposals have been scored, each reviewer will submit their initial scoresheets to a designated notetaker and a meeting time will be established for all reviewers to discuss the proposals. Prior to the call, scoresheet results will be compiled to highlight the overall top-ranking bids.

In a virtual teleconference, reviewers will share their organizational scores for each bid with the entire review team. The review team will summarize key strengths and weaknesses of each proposal and come to a consensus on the top two bids for each purchasing model. A designated notetaker will document major takeaways, strengths, and weaknesses of each bid. Reviewers will have an

30

opportunity to adjust their scores based on the discussion. Final scores will be averaged to produce a single score for each bid that will be presented to site owners.

Main Categories for Evaluation

Qualifications & Experience (25%)

- Strength of qualifications and experience of proposing firms and key personnel

- Strength of project references, completion of projects equivalent to those included in this RFP, and success in maintaining project budgets and schedules

- Financial stability and proof of funding for these projects with proven track record

Technical Proposal (25%)

- Preliminary system design is appropriate for site needs, accounts for site conditions, and is optimized to take advantage of the conditions conferred by net-metering policy

- Projected energy production is realistic and appropriate for each facility

- Module, inverter, racking, and monitoring components are high quality, available, and have strong track record and warranty coverage

Project Costs (40%)

- Direct purchase cost

- PPA/lease cost of energy over specified term

- Operations & Maintenance costs for first 10 years of system life

- Financial analysis of total system costs and benefits

Proposal Attributes (10%)

- Proposal is complete and addresses requirements and preferences stated in the RFP, addresses local workforce preferences, and demonstrates experience working with commercial projects.

31

Appendix B: RFP Scoresheet

32

|  |  |  | Bidder #1 | Bidder #2 |  | Bidder #3 |  | Bidder #4 |  | Bidder … |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Evaluation Criteria | Points | Score |  | Score |  | Score |  | Score |  | Score |  |
|  | Available |  |  |  |  |  |  |  |  |  |  |
|  |  |  | Notes |  | Notes |  | Notes |  | Notes |  | Notes |
| A. Qualifications and Experience (25 total points) |  |  |  |  |  |  |  |  |  |  |  |
| A.1: Strength of qualifications and experience of proposing firms and key personnel | 0-10 |  |  |  |  |  |  |  |  |  |  |
| A.2: Strength of project references and completion of projects equivalent to those |  |  |  |  |  |  |  |  |  |  |  |
| included in this RFP | 0-5 |  |  |  |  |  |  |  |  |  |  |
| A.3: Financial stability and proof of funding for these projects with proven track record | 0-10 |  |  |  |  |  |  |  |  |  |  |
| Overall qualifications and experience to carry out the proposed projects (Note any |  |  |  |  |  |  |  |  |  |  |  |
|  | Total out of 25 | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  |
| concerns or additional comments regarding this firm’s ability to carry out the projects |  |  |  |  |  |  |  |  |  |  |  |
| B. Technical Proposal (25 total points) |  |  |  |  |  |  |  |  |  |  |  |
| B.1: Preliminary system design is appropriate for site needs, accounts for site conditions, |  |  |  |  |  |  |  |  |  |  |  |
| and is optimized to take advantage of the conditions conferred by net-metering policy | 0-9 |  |  |  |  |  |  |  |  |  |  |
| B.2: Projected energy production is realistic and appropriate for each facility |  |  |  |  |  |  |  |  |  |  |  |
|  | 0-8 |  |  |  |  |  |  |  |  |  |  |
| B.3: Module, inverter, racking, and monitoring components are equivalent or exceed |  |  |  |  |  |  |  |  |  |  |  |
| widely used equipment ratings (e.g. UL & ICE), are high quality, available, and have |  |  |  |  |  |  |  |  |  |  |  |
| strong track record and warranty coverage | 0-8 |  |  |  |  |  |  |  |  |  |  |
| Overall technical appropriateness of the proposed systems for each site (Note any | Total out of 25 | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  |
| concerns or additional comments regarding this firm’s proposed system designs) |  |  |  |  |  |  |  |  |  |  |  |
| C. Project Costs (40 total points) |  |  |  |  |  |  |  |  |  |  |  |
| C.1A: Direct turnkey purchase cost | 0-30 |  |  |  |  |  |  |  |  |  |  |
| C.1B: PPA/lease cost of energy over specified term | 0-30 |  |  |  |  |  |  |  |  |  |  |
| C.2: Additional costs stipulated in the proposal or anticipated by reviewer, including | 0-10 |  |  |  |  |  |  |  |  |  |  |
| Operations & Maintenance costs, if relevant |  |  |  |  |  |  |  |  |  |  |  |
| Overall competitiveness of the direct turnkey prices/costs of the bidder’s proposal |  |  |  |  |  |  |  |  |  |  |  |
| (Note any concerns or additional comments about pricing, costs, or site-specific | Total out of 40 | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  |
| considerations proposed by this firm) |  |  |  |  |  |  |  |  |  |  |  |
| Overall competitiveness of the PPA prices/costs of the bidder’s proposal |  |  |  |  |  |  |  |  |  |  |  |
| (Note any concerns or additional comments about pricing, costs, or site-specific | Total out of 40 | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  |
| considerations proposed by this firm) |  |  |  |  |  |  |  |  |  |  |  |
| D. Proposal Attributes (10 points) | 10 |  |  |  |  |  |  |  |  |  |  |
| D.1: Proposal is complete and addresses requirements and preferences stated in the |  |  |  |  |  |  |  |  |  |  |  |
| RFP, addresses local workforce preferences, and demonstrates experience working with | 0-10 |  |  |  |  |  |  |  |  |  |  |
| commercial projects. |  |  |  |  |  |  |  |  |  |  |  |
| Overall proposal attributes address the requirements and intent of the RFP (Note any |  |  |  |  |  |  |  |  |  |  |  |
| concerns or additional comments concerning the information provided in this firm’s | Total out of 10 | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  |
| proposal) |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  | Bidder #1 | Bidder #2 |  | Bidder #3 |  | Bidder #4 |  | Bidder … |  |
| TOTAL Score for Direct Turnkey Purchase | Total out of | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  |
|  | 100 |  |  |  |  |  |  |  |  |  |  |
| TOTAL Score for PPA/Lease | Total out of | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  |
|  | 100 |  |  |  |  |  |  |  |  |  |  |

33