# Construction Environment, Health & Safety

# Plan (CEHSP)

INSTRUCTIONS

This Construction Environmental, Health & Safety Plan is required of each construction project at DOE’s National Renewable Energy Lab site (NREL).

Each construction project (contract) requires its own CEHSP; therefore, each CEHSP must be tailored specifically to the project being conducted.  This template is provided in electronic format to enable copy and paste functions for those subcontractors whose basic data remains unchanged, yet tailor the hazard and controls information to the particular activities/materials/location of the project at hand.  NREL recommends using a graded approach in the development of CEHSP’s.  This approach determines the level of rigor for implementing the work planning and control attributes based on the importance/significance of the activity in relation to the associated hazards and consequences.  The level of detail within each CEHSP and corresponding AHA(s) should be commensurate with the size, complexity and risk level of the construction project.

For larger projects, the prime subcontractor may either flow down this requirement to each of its subcontractors; or serve as a control and coordination point, requiring all subcontractors’ activities to be conducted under the prime subcontractor’s solitary CEHSP.

NREL’s Construction Environmental Health and Safety Manual (“CEHS Manual”) is the governing document that accompanies the CEHSP, and must be utilized when completing this CEHSP to ensure that NREL specific requirements are being met and incorporated into the project planning process.

Your completed CEHSP is to be submitted to the NREL Contracts and Business Services office for review and concurrence by the NREL Project Manager and ESH&Q prior to performing work.  This CEHSP is intended to be a living document; updated as necessary throughout a project as information changes or as the project progresses (e.g. – as additional Activity Hazard Analyses are developed, subcontractors/workers are added, etc.).

There are three parts to this CEHSP template.  All of the sections in Part 1 are required to be completed for each construction project, regardless of the size or complexity.  All of the sections in Part 2 are required to be completed, but checked and filled in as applicable for the particular project’s scope of work.  Enter information in all of the fill in blocks that are applicable.  For those that are not applicable, enter “N/A” or other suitable explanation.

An Activity Hazard Analysis (AHA), Part 3, is required for all projects, regardless of the size, scope or complexity of work.  This is the heart of the project’s safety information, and acts as a work control document.  Every project will have at least one definable construction activity, and therefore at least one AHA.  Depending upon the complexity of the project, one or several AHAs may need to be completed.  In some cases, AHAs may need to be staged, in coordination with the initiation of the various phases of a project.

- Part 1 – Project Governance / Emergency Information -

Section 1 – Project Description and Emergency Contacts

Fill in the names and telephone numbers of the contact personnel for this particular project.  In accordance with 10 CFR 851, the Subcontractor’s designated on site safety representative must be knowledgeable of the project’s hazards and have the authority to correct unsafe conditions or behavior.  Attach the qualifications of your safety representative for this project (see section 10).  If you have subcontractors performing work on this project, list their contact information.  Update as necessary throughout the project.

Note: Some projects of long duration or complexity may be required to develop an emergency response plan and conduct a drill at least once during the project, or more often as necessary.

Attach a site map showing assembly points and directions to your authorized medical facility (as the last page of your CEHSP to facilitate easy removal for transport).  A copy must also be posted at your project field location.  Upon award of the work, contact the Project Manager or ESH&Q Point of Contact for electronic copies of building evacuation routes and assembly areas to include in your map(s), as needed.

Refer to Chapter 2 of the CEHS Manual for additional information.

Section 2 – Subcontractor Policy Statement

Enter your Company’s health and safety policy statement.  At minimum, your policy must include:

- Specific statement of intent to comply with the code of federal regulations, Title 29, Part 1910, General Industry Safety and Health Standards and Part 1926, Safety and Health Standards for the Construction Industry, 10 CFR 851, Worker Safety and Health and other applicable codes and standards.

- A statement that all requirements of the plan apply to all lower tier subcontractors, and must be flowed down to all subcontractors at all levels.

- Statement of employee’s rights and responsibilities regarding a safe and healthful work environment in accordance with the work site OSH poster (i.e. OSHA/DOE poster or equivalent).

- Statement of Stop Work Authority for all workers.

Refer to Chapter 2 of the CEHS Manual for additional information regarding program policies.

Section 3 – 10 CFR 851 Acknowledgement

Because NREL is a Department of Energy site, your company must meet the requirements of Title 10, Code of Federal Regulations, “Energy”, Part 851, “Worker Safety and Health Program” (Link to 10 CFR 851).  It is your responsibility to ensure you have read and understand the regulatory requirements.

Refer to Chapter 2 of the CEHS Manual for additional information regarding program policies.

Section 4 – Construction Environmental, Health & Safety Manual Acknowledgement

NREL has developed a construction EHS manual to serve as a primary reference document to identify our required EHS work processes and work practices to help ensure project success.  It is your responsibility to ensure you have read and fully understand the contents of this manual.  The NREL ESH&Q Office must be contacted, if you have any questions.

Section 5 – Safety Briefings and Inspection

The Subcontractor must conduct frequent safety briefings and inspections, based upon the duration and complexity of the project.  Describe the frequency and initiation of safety briefings and inspections on your project at NREL.

Refer to Chapter 5.0 of the CEHS Manual for additional information regarding minimally required inspections and briefings.

- Part 2 – Project Characterization -

Section 6 – Project Characterization

Under 10 CFR 851, all Subcontractors must identify existing and potential workplace hazards and assess the risk of associated workers injury and illness.  This section will help to serve as first step in characterizing your project and the associated hazards, and will aid in the development of the AHA(s).

List the project’s Definable Work Activities:  A definable work activity is a task which is separate and distinct from other tasks, has separate control requirements, and may be identified by different trades or disciplines, or it may be work by the same trade in a different environment.  Add additional lines as necessary to identify all the definable construction activities of your project.  Refer to Chapter 4.0 of the CEHS Manual for additional information regarding Definable Work Activities.

Check all of the Hazards/Activities that apply to your project:  The checklist in this section includes those activities which are subject to NREL specific controls beyond what is required by OSHA standards, or have the potential to affect natural resources including storm water, wetlands, streams, air quality, vegetation and wildlife.   In the left hand column, check all activities that will be performed as part of this project.  Identify your Competent Person(s) or Qualified Person(s) where applicable.  Refer to the corresponding Chapters of the CEHS Manual for additional information on each topic area.

This checklist is presented in part for project planning and scheduling purposes, as some activities require NREL specific permits to be acquired prior to being allowed to perform them.  If your project involves an activity that has a check in the right hand column, then your CEHSP must include a copy of your company program that addresses the controls and requirements for performing that activity at NREL.  If your company does not have an established program for a particular activity, then you may attach a project specific program/plan for performing that activity at NREL or address it in sufficient detail in a thorough AHA (however, this is not an option for OSHA required programs).  Use Section 10 of this template to list and identify attachments of your company programs, policies, procedures and/or plans.  Be specific as to the chapter and/or section being reference.

Project applicable activities that have potential environmental impacts will require NREL ESH&Q coordination and concurrence, as identified in Chapter 18 of the CEHS Manual.  The Subcontractor and all lower tier subcontractors are responsible for implementation and compliance with all federal, state and local laws as well as NREL procedures.

Details of NREL specific requirements are presented in the NREL “Construction Environment, Health & Safety Manual.”  The subcontractor is responsible for knowing and abiding by the requirements of the CEHS Manual.

Section 7 – Project Support Features, Site Control and Logistics

Discuss important site/project control elements that you will employ on your project such as signs, barricades, fencing, briefings, sign in/out logs, blocked exits, PPE postings, etc.  For large or complex projects, attach a diagram showing: construction areas, laydown areas, staging areas, alternative exit routes, material storage areas, pedestrian routes, temporary traffic controls, material receiving areas, etc.   Attach a copy of your Logistics Plan if one is required by the contract documents, or if you are providing one to better delineate your site control procedures.  Use Section 10 of this template to identify which appendix the Logistics Plan appears in your CEHSP.

Section 8 –Required Training/Qualification Submittals

Check all boxes applicable to this Project’s work scope.

The subcontractor is responsible for assuring that all workers have met the training requirements identified by OSHA 29 CFR 1926, 29 CFR 1910 and DOE 10 CFR 851, as applicable to the work activities associated with the project scope.  In addition, the subcontractor must maintain those documents for each worker on site throughout the duration of the project.  Identify where you will maintain those records on the NREL Site.  Refer to Chapter 2.0 of the CEHS Manual for additional training requirements information.  It is recommended that a spreadsheet be maintained to facilitate the recordkeeping of required training for each worker.

However, the subcontractor must submit training/qualification documentation for each worker performing work associated with the specific topics and list in Section 10.  This submittal must be reviewed and accepted by NREL, prior to each worker starting work.

Section 9 – Hazard Communication

Hazardous chemicals (as defined in 29 CFR 1910.1200) to be brought or used on site are to be identified and managed appropriately.  The subcontractor is responsible for maintaining an up to date chemical inventory (only of those chemicals brought on site), and copies of Safety Data Sheets (SDS) must be maintained at the task or project support facilities and made available for review by site workers, the DOE or NREL employees.

Identify the methods you will use to inform the other employer(s) of any precautionary measures that need to be taken to protect NREL and/or other subcontractor employees during normal operating conditions and in foreseeable emergencies.  Identify the methods you will use to inform other affected workers of your labeling system if the labeling system is not readily understandable.

If your existing Hazard Communication Program addresses these requirements, you may attach a copy of it and your project specific chemical listing instead of filling out the block in this Section 9.

Refer to Chapter 15.0 of the CEHS Manual for additional information regarding NREL’s Hazard Communication requirements.

Section 10 – Plan Attachments

A description of the qualifications (or resume) of all individuals serving as the Designated Safety Representative(s) on this project must be included in the Plan, per 10 CFR 851.

Additionally, if your project involves a hazard/activity that has a check in the right-hand column of Section 6, then your CEHSP must include a copy of your company’s program addressing that topic.  Alternatively, your company may submit a project specific plan/AHA that details your approach to addressing that topic.  You are responsible for ensuring that your project specific controls are in alignment with the NREL site requirements presented in the CEHS Manual, either via your company program or through specific controls identified in the project AHAs.

Use this Section of this template to also list any other plans(s)/procedures, training documentation, you are attaching to this CEHSP.  Hardcopies and/or an electronic file or hyperlink to these documents must be referenced here.

- Part 3 – Activity Hazard Analyses -

10 CFR 851, Appendix A to Part 851 – Worker Safety and Health Functional Areas, Construction Safety requires that an Activity Hazard Analysis (AHA – sometimes referred to as a Job Safety Analysis, JSA, or Job Hazard Analysis, JHA) be prepared  for each separately definable construction activity (e.g., mobilization, excavations, concrete/foundations, structural steel, roofing) prior to the commencement of work.  For larger projects, the primary subcontractor may either flow down this requirement to each of its lower tier subcontractors, or serve as a single control and coordination point for all project AHA’s.

Prior to the start of each phase of work, it will be the responsibility of the subcontractor to develop a thorough AHA that details the hazards and controls for the steps associated with that phase of work, and submit it to NREL ESH&Q for review.

If the project’s complexity and/or schedule necessitate several AHAs to be developed for different phases of the Project, the subcontractor may use the tracking table as a tool to coordinate which AHAs are in effect and which AHAs are yet to be developed.

The CEHSP template is provided in electronic format to enable copy and paste functions for those subcontractors whose basic data remains unchanged, yet allow for the work steps, hazard and controls information to be tailored to the particular activities/materials/location of the project at hand.  The AHA template rows can be expanded to include additional tasks, or reduced in number to accommodate changes, and to vary the final product to match the relative complexity of the project.

Refer to Chapter 4.0 of the CEHS Manual for additional information regarding NREL’s Activity Hazard Analyses requirements.

Emergency Assembly Points and Medical Map

A site map showing assembly points and directions to your authorized medical facility is to be provided (as the last page of your CEHSP to facilitate easy removal for transport).  A copy must also be posted at your project field location.  Upon award of the work, contact the Project Manager or ESH&Q Point of Contact for electronic copies of building evacuation routes and assembly areas to include in your map(s), as needed.

(Project Name)

# Construction Environmental, Health & Safety Plan

| SECTION 1 - PROJECT DESCRIPTION & EMERGENCY CONTACTS |
| --- |
| Subcontract / Purchase Order Number | Enter subcontract and/or task order number |
| Project Start / End Dates | Start: | Complete: |
| Project Location | Enter the work location(s) at NREL |
| Scope of Work | Enter breakdown and description of work activities |
| FOR ALL EMERGENCIES CALL: |
| NREL Emergency Contact number: x1234 or (303) 384-6811 from a cell phone |
| For all incidents, injuries, property damage, near-misses, work-induced illness or chemical over-exposures, the following personnel MUST be immediately contacted upon scene stabilization, but in all cases within one hour: |
| Project Personnel | Name | Phone Number(s) | Email |
| NREL Project Manager | Enter the name of NREL Project Manager | Enter number: xxx-xxx-xxxx | Enter: user@domain |
| NREL Project ESH&Q Point of Contact | Enter the name of NREL ESH&Q Point of Contact | Enter number: xxx-xxx-xxxx | Enter: user@domain |
| OTHER CONTACT INFORMATION |
| Subcontractor Project Manager | Enter the name of subcontractor Project Manager | Enter number: xxx-xxx-xxxx | Enter: user@domain |
| Subcontractor Site Superintendent | Enter the name of subcontractor's Site Superintendent | Enter number: xxx-xxx-xxxx | Enter: user@domain |
| Subcontractor Health & Safety Representative ** | Enter the name of subcontractor health & safety representative | Enter number: xxx-xxx-xxxx | Enter: user@domain |
| Subcontractors - Company Name | Name of Designated Safety Representative ** | Phone Number |
| Enter Subcontractor company name | Enter name of individual** | Enter number: xxx-xxx-xxxx |
| Enter Subtier company name | Enter name of individual** | Enter number: xxx-xxx-xxxx |
| Enter Subtier company name | Enter name of individual** | Enter number: xxx-xxx-xxxx |
| ** Attach a description of qualifications, or resume, for each Safety Representative per Section 10.0. |

| CEHSP REVIEWS |
| --- |
| Reviewed & Approved by: (Subcontracted Company Officer) | Subcontractor CEHSP Reviewed & Concurred by: (NREL) | Subcontractor CEHSP Reviewed & Concurred by: (NREL) |
| Enter Subcontrator - Company Officer | Enter NREL Project Manager or designee | Enter NREL Project ESH&Q |
| Signatures and dates |

SECTION 2 - SUBCONTRACTOR POLICY STATEMENT

- Specific statement of intent to comply with the code of federal regulations, Title 29, Part 1910, General Industry Safety and Health Standards and Part 1926, Safety and Health Standards for the Construction Industry, 10 CFR 851, Worker Safety and Health and other applicable codes and standards.

- A statement that all requirements of the plan apply to all lower tier subcontractors, and must be flowed down to all subcontractors at all levels.

- Statement of employee’s rights and responsibilities regarding a safe and healthful work environment in accordance with the work site OSH poster (i.e. OSHA/DOE poster or equivalent).

- Statement of Stop Work Authority for all workers

| SECTION 3 - ACKNOWLEDGMENT of 10 CFR 851 |
| --- |
| As a subcontractor to NREL, while your workers are physically located at NREL you must meet the requirements of Title 10, Code of Federal Regulations, “Energy”, Part 851, “Worker Safety and Health Program” (10 CFR 851). As such, you must be aware of, and comply with, the requirements of this regulation. (Link to 10 CFR 851) |
| Acknowledgment | I, (the author of this CEHSP), certify that that I have read the requirements of 10 CFR 851 and attest that my firm and its sub-tier contractors will comply with the requirements of 10 CFR 851. |
| Signature Required: |  |
| MEDICAL SURVEILLANCE AND QUALIFICATION |
| Occupational Medicine | Will you have any employees that will work on-site at NREL for 30, eight-hour days in a 12-month period, or are enrolled for any length of time in a medical or exposure monitoring program required by federal, state, or local regulations (including hearing conservation, respiratory protection, lead exposure)? Refer to the CEHS Manual, Section 3.0 for additional information. | Yes | No |
|  | If yes, you will need to: Comply with the occupational medicine requirements of 10 CFR 851, Appendix A Provide your occupational medicine provider contact information |
| Clinic / Physician | Enter the name and address of your company's medical provider for this project | Enter telephone number: xxx-xxx-xxxx | Enter e-mail address: user@domain |
| Required Medical Surveillance | Task-specific medical testing |
| DOT/Commercial Vehicle Blood Lead Hearing Conservation Respirator User Fit For Duty Other(s) :List other(s) Substance Abuse Testing | List specific task(s) requiring medical surveillance |

| SECTION 4 - ACKNOWLEDGEMENT of CONSTRUCTION ENVIRONMENTAL, HEALTH and SAFETY MANUAL |
| --- |
| Acknowledgment | I (the Project Manager or Superindent of this project), certify that that I have read and understand the requirements of the NREL Construction Environmental, Health & Safety Manual version # 6 12/15. |
| Signature Required: |  |

SECTION 5 - SAFETY BRIEFINGS AND INSPECTIONS

Safety Briefings: Discuss the conduct of safety briefings on your project at NREL

Safety Inspections: Discuss your conduct of safety inspections during this project at NREL

Refer to the CEHS Manual, Section 5.0 for additional information.

| SECTION 6 – PROJECT CHARACTERIZATION |
| --- |
| Identify the project’s Definable Work Activities. (e.g., mobilization, excavations, concrete, structural steel erection, dry-walling, electrical install, painting, roofing, landscaping, etc.) |
| Mobilization (-describe as necessary) | Anticipated Start Date |
| Enter Activity | Anticipated Start Date |
| Enter Activity | Anticipated Start Date |
| Enter Activity | Anticipated Start Date |
| Enter Activity | Anticipated Start Date |
| Enter Activity | Anticipated Start Date |
| Enter Activity | Anticipated Start Date |
| Check all of the hazards/activities below that apply to this Project. Refer to the CEHS Manual for NREL-specified controls. |
| Yes | No | Hazard/Activity with specific NREL-based control measures. | NREL Construction ESH Manual Chapter(s) | NREL-issued Permit or Plan required | Attach copy of Subcontractor Program or Project Plan addressing this activity |
|  |  | Asbestos use, alteration, removal or storage | 13, 18 | ( | ( |
|  |  | (Identify your Supervisor for Asbestos Work here) |
|  |  | Blocking Exits or Exit Pathways | 9, 19 |  | ( |
|  |  | Building Surface Penetration | 7, 17 | ( | ( |
|  |  | Confined spaces | 16 | ( | ( |
|  |  | Crane Use | 10, 19 | ( | ( |
|  |  | (Identify your Lift Supervisor here) |
|  |  | Discharges to sanitary/septic system will occur | 18 |  |  |
|  |  | Energized electrical work (>50 v or > 50 mA) | 6, 7 | ( | ( |
|  |  | Excavation/Trenching | 7, 8 | ( | ( |
|  |  | (Identify your Competent Person for Excavation/Trenching here) |
|  |  | Earth disturbance of greater than one acre | 13, 18 | ( |  |
|  |  | Falls from elevation (work at heights of 6 feet or more above the lower level) | 11 | ( | ( |
|  |  | (Identify your Fall Protection Equipment Competent Person here) |
|  |  | Fire protection system outage or modification | 9 | ( | ( |
|  |  | Flushing of waterlines, storm/sanitary lines, fire suppression systems or fire hydrants | 18 | ( |  |
|  |  | Hazardous Waste Storage or generation on construction site | 18 |  | ( |

| Yes | No | Hazard/Activity with specific NREL-based control measures | NREL Construction ESH Manual Chapter(s) | NREL-issued Permit or Plan required | Provide copy of Subcontractor Program on the project |
| --- | --- | --- | --- | --- | --- |
|  |  | Hoisting/Rigging | 10 | ( | ( |
|  |  | (Identify your Hoisting/Rigging Qualified Person here) |
|  |  | Hot work | 9.0 | ( | ( |
|  |  | Lasers (Class 3B and 4) | 13 |  | ( |
|  |  | Lead | 13 | ( | ( |
|  |  | (Identify your Competent Person for Lead work here) |
|  |  | Lockout/Tagout (Control of Hazardous Energy) | 6.0 |  | ( |
|  |  | Night work | 13 |  |  |
|  |  | Outdoor work to be performed between mid-March and mid-September | 18 |  |  |
|  |  | Pesticides and/or herbicides use or storage on site | 13, 18 |  |  |
|  |  | Radioactive materials or Ionizing radiation-generating devices | 13 |  | ( |
|  |  | (Identify your Radiation Safety Officer here) and provide a copy of the Radioactive Materials License and/or Device Registration |
|  |  | Scaffolding | 11 |  | ( |
|  |  | (Identify your Scaffolding Competent Person here) |
|  |  | Structural Steel Erection | 11 |  | ( |
|  |  | Traffic Control | 19 | ( | ( |
|  |  | (Identify your Competent Person here) |  |  |  |
|  |  | Excavation near Underground Utilities | 7, 8 | ( | ( |
|  |  | Wetlands, drainage channels, streams, groundwater seeps occurring within construction site | 18 |  |  |

| SECTION 7 - PROJECT SUPPORT FEATURES, SITE CONTROL & LOGISTICS |
| --- |
| Check all of the following facilities and equipment that are required for safe completion of work. |
| Facility/Equipment | Description |
| Project Office | Describe office to be used (room/trailer, location, etc.) |
| Materials Receiving Location | Describe (location, size, delivery times, etc.) |
| Portable Restrooms/wash stations | Describe (number, location, etc.) |
| Supplementary Illumination | Describe Supplementary Illumination (Type(s), indoor/outdoor, distribution, etc.) |
| Emergency Eyewash/Shower | Describe (type, location, distribution, etc.) |
| First Aid Supplies | Describe (type,size, location,etc.) |
| Fire Extinguishers | Describe (type,size, location,etc.) |
| Hazardous Material Storage | Describe (materials, amounts, location, etc.) |
| Spill Containment/Clean-up | Describe (materials, location, etc.) |
| Other: Enter Other Type | Describe item, location, number, etc. |
| Other: Enter Other Type | Describe item, location, number, etc. |

| Site Control / Logistics |
| --- |
| Task / Location | Specify your task-specific site control/access control measures below. |
| Enter work task and location | Enter specific site/area control procedure |
| Enter work task and location | Enter specific site/area control procedure |
| Enter work task and location | Enter specific site/area control procedure |
| Check here if you are ALSO attaching a Logistics Plan for your activities. Logistics Plan is attached in Appendix #___ |

| SECTION 8 – REQUIRED TRAINING/QUALIFICATIONS SUBMITTALS |
| --- |
| Training Records Location: Identify where you will maintain training/certification records related to your Project at NREL: |
| Identify (from the below list) the activities/personnel involved with your project and separately submit appropriate documentation for each worker engaged in that respective activity. The documentation submitted shall confirm that each worker has the required license, certification, training or medical clearance appropriate to the scope of work, before they begin work at NREL. |
| Yes | No |  |
|  |  | Asbestos activities (licensed abatement contractor, workers minimum CDPHE and OSHA required credentials) |
|  |  | Aerial Lift, Powered Platforms Man lifts and Vehicle Mounted Platform Operation |
|  |  | Confined Space Entry – (Entrant, Attendant and Entry Supervisor) |
|  |  | Control of Hazardous Energy (lockout/tagout) and documentation of annual Field Practical |
|  |  | Crane Operation (minimum NCCCO license and DOT Physical Exam Card for operator) |
|  |  | Fall Protection – Authorized Worker (work performed 6-feet or more above the lower level) |
|  |  | Fall Protection – Competent Person (24-hour training recommended) |
|  |  | Fall Protection – Qualified Person |
|  |  | Forklift/Telehandler/Powered Industrial Truck Operation |
|  |  | Hoisting & Rigging Personnel |
|  |  | Qualified Electrical Worker – (provide copy of Colorado active Apprentice, Journeyman or Master Electrician License and documentation of NFPA 70E training) |
|  |  | Respiratory Protection – (provide medical evaluation, fit test and training documents) |
|  |  | Scaffolding – Competent Person |
|  |  | Steel Erection (29 CFR 1926.761) |
|  |  | Trenching and Excavation – Competent Person |
|  |  | Welding and Cutting – (provide appropriate American Welding Society (AWS) welding certification specific for the welding related activities that are required for the project) |
|  |  | Other: (List...) |

SECTION 9 - HAZARD COMMUNICATION (HAZCOM)

SDS Location: Identify where you will maintain your Project Chemical list and Safety Data Sheets (SDS) at NREL

Method of notifying affected NREL employees: Describe the method used for notifying affected NREL employees and subcontractor workers of any chemicals planned to be use on the project any how they will be made aware of the hazards, precautions, personal protective equipment required, safe use and storage. Describe your method of instructing others about your labelling system, if it is nonstandard.

Refer to the CEHS Manual, Section 15 for additional information.

| SECTION 10 - PLAN ATTACHMENTS |
| --- |
| For each activity or hazard checked in Sections 6, and 8, list and attach your additional corporate, site- or project-specific programs/plans, training documentation, resumes, etc. |
| Attachment | Reference Procedure or Program |
| 1 | Project safety representative, Statement of Qualifications for: (insert name) |
| 2 | Training documentation for: (insert name) |
| # | List Reference Procedure or program |
| # | List Reference Procedure or program |

| PART 3 – ACTIVITY HAZARD ANALYSES |
| --- |
| Complete an Activity Hazard Analysis for each of your project’s Definable Construction Activities Refer to the CEHS Manual, Section 4.0 for additional information. |
| Note: A completed, signed AHA must be submitted to NREL EHS for review prior to the start of each phase of work, in order to proceed with that phase. |
| AHA Tracking Table (use is non-mandatory unless required by EHS contact) |
| 1 | Enter Activity Anticipated Start Date | Responsible subcontractor | AHA Submittal Date | Date AHA accepted by NREL |
| 2 | Enter Activity Anticipated Start Date | Responsible subcontractor | AHA Submittal Date | Date AHA accepted by NREL |
| 3 | Enter Activity Anticipated Start Date | Responsible subcontractor | AHA Submittal Date | Date AHA accepted by NREL |
| 4 | Enter Activity Anticipated Start Date | Responsible subcontractor | AHA Submittal Date | Date AHA accepted by NREL |
| 5 | Enter Activity Anticipated Start Date | Responsible subcontractor | AHA Submittal Date | Date AHA accepted by NREL |
| 6 | Enter Activity Anticipated Start Date | Responsible subcontractor | AHA Submittal Date | Date AHA accepted by NREL |
| etc | (Add others as necessary) |  |  |  |

| Sample AHA AHA #: 001 |
| --- |
| Activity Hazard Analysis REVIEWS |
| Reviewed & Approved by: Subcontractor Project Manager | Reviewed & Approved by: Subcontractor Project Superintendent | Reviewed & Approved by: Subcontractor Safety Officer |
| XYZ Construction, Inc. Fred Jonesm Signature and date | Mark XYZe Signature and date | Ed Safetyz Signature and date |
| All signature blocks completed indicate authorization to perform THIS work |

Drawings Attached:   Yes    No

| Definable Feature/Work Activity: | Revision: 0 |
| --- | --- |
| Work Task | Potential Hazard(s) | Control Measure(s), Hold Points, Required Training, NREL-required Permits or Plans |
| General Construction activities | Eye/head/foot injuries from work activities | Safety glasses with rigid side shields meeting ANSI Z-87 standards ANSI Z89.1 Class 1, Type E or better hard hats Safety boots/shoes ANSI Z- 41 composite or steel toe High Visibility vest or shirt, ANSI Class 2 or better when working outdoors or around heavy equipment |
|  | Slips, trips, or falls on walking and working surfaces | Maintain clean work areas by following good housekeeping procedures Store materials and tools in proper storage areas Watch where you are walking - be alert for debris, projections, holes, uneven terrain and slopes Fill in holes/depressions (or properly cover and post/mark them) Wear slip resistant footwear when walking/working on slippery surfaces Watch for ice buildup when temperatures dictate, and promptly clear ice and snow from walking and working surfaces |
| Using hand and power tools | Abrasions and cuts to hands, electric shock and hearing loss | Inspect all equipment, tools and electric cords prior to each day’s use Defective or damaged tools/equipment must not be used – it must be removed from service and tagged for repair, or disposed Obtain and use the proper tool for the job Use tools only for their intended purpose GFCIs must be used with all cord-and-plug power tools Secure long hair, jewelry, loose clothing from contact with power tools Wear sturdy leather or other cut-resistant gloves as required when working with materials that may have sharp edges, burrs or splinters (e.g. – unfinished wood, pipe, conduit, sheet metal Ensure that material being cut/worked is secured against movement (with a clamp, vise, etc.) Use caution when cutting; keep body parts out of cut path Identify potential pinch points and keep body parts out of these areas Keep blades of razor knives retracted when not in use; replace dull or damaged blades Equipment or tools operating at 85 dBA or above may require hearing protection and monitoring if needed |
| Lifting and removing equipment | Back injury, strains and sprains | Mechanical devices should be used to reduce manual handling of materials Team lifting should be utilized if mechanical devices are not available Train personnel on proper lifting techniques |
| Outdoor work | Vehicle accidents to pedestrians, employees or equipment | Spotters will be used when backing up trucks, heavy equipment and earthmoving equipment in congested areas High visibility traffic vests (minimum ANSI Class 2) must be worn in areas of traffic, construction vehicles, and roadways Submit and have approved TTC Plan on site |
|  | Lightning strikes, struck by wind-blown objects and slip, trips and falls | Halt outdoor work if high winds (>25 mph), lightning or thunder is present Stop work if weather conditions create other hazards such as slippery or icy surfaces |
| Penetrating building surface | Electrocution | HOLD POINT: SURFACE PENETRATION PERMIT REQUIRED to be issued by NREL Do not begin any penetrations until permit is acquired (to be attached to this AHA when obtained) Review permit and ensure all utilities have been located and marked before beginning The permit requirements must be followed |
|  | Silica exposure | Wet methods must be used when sawing concrete |

(Project Name)

Emergency Assembly Points

(Project Name)

Map to Medical Facility